Manufacturer: Address: 3B Akademika Artsimovicha St, Room 11, Moscow 117437, Russia

Production site is located at: Sigma Lab LLC, 42, Bolshoy Boulevard, Bldg. 1, Floor 3, Room 785, Territory of the Skolkovo Innovation Center, Moscow, 143026 Russia

e-mail: mail@evotech-mg.com.

DATASHEET No. 001 of April 1, 2020

Detection kit for the SARS-CoV-2 RNA presence in biological material using real-time isothermal amplification method in different versions according to TU 21.10.60-004-06931260-2020

Version II. 96 detections:

Serial number: LOT 30023. Date of production: April 1, 2020  Shelf life: 12 months.

TU 21.10.60-004-06931260-2020

Registration Certificate ________

Compliance assessment:

| Tested and checked items | Assessment results | Compliance assessment |
| --- | --- | --- |
| Equipment documentation, materials, quantity, marking and packaging | Compliance of the materials used is confirmed by visual inspection against quality control documents | С |
| Tube volume, tube liquid volume | Reagent E - 0.6ml Reagent P - 0.4ml Positive control sample - 0.15ml Negative control sample - 0.15ml | С |
| Tube visual inspection | The tube external surface is clean, even, dry, without holes, cracks and chips | С |
| Leakage | No leakage | С |
| Odour, color, turbidity | The solution is clear, odourless, colorless | С |
| Resistance of reaction mixture to heating, volume of reagents used, analytical and functional specifications | Analytical specifications comply with the requirements | С |

Transportation

The Kit is transported by all types of covered transport in accordance with the rules of cargo transportation applicable to such a type of transport at -80°С to -20°С, in an environment free from hostile conditions, direct sunlight.  Repeated freezing of the Kit is not allowed.

Storage

The Kit in manufacturer’s packaging must be stored at -80°C to -20°C under conditions avoiding effects of hostile environment, direct sunlight. Repeated freezing of the Kit is not allowed.

The Kit under Serial Number LOT 30023 complies with TU 21.10.60-004-06931260-2020.

Date of issue: April 1, 2020.

Head of Biological and Technical Control Department, EVOTECH-MIRAI GENOMICS LLC/