FEDERAL SERVICE FOR SURVEILLANCE IN HEALTHCARE

(ROSZDRAVNADZOR)

REGISTRATION CERTIFICATE FOR A MEDICAL DEVICE

No. РЗН (RZN )2020/10089 			of 17 April 2020

For the following medical device:

Pretreatment Device for the nucleic acids extraction from the biological samples for SARS-CoV-2 isothermal amplification performance according to

TU 26.60.12-001-06931260-2020

This Registration Certificate is issued to

EVOTECH-MIRAI GENOMICS LIMITED LIABILITY COMPANY (EVOTECH-MIRAI GENOMICS LLC), Russian Federation 117437, Moscow, Ak. Artsimovich Str., 3B, of.11

The manufacturer

EVOTECH-MIRAI GENOMICS LIMITED LIABILITY COMPANY (EVOTECH-MIRAI GENOMICS LLC), Russian Federation 117437, Moscow, Ak. Artsimovich Str., 3B, of.11

The production site is located at

JSC POZIS, 4, Privokzalnaya Street, Zelenodolsk, Republic of Tatarstan, Russia 422546

Registration Dossier No. РД (RD)-32454/26140 of 17 April 2020

Classification by potential risk associated with the usage of the medical device: Class 2a.

Code by the All-Russia Classifier of Types of Economic Activity: 26.60.12.119

This Registration Certificate has an Appendix of 1 (one) page.

By the Order of Roszdravnadzor No. 3159 of 17 April 2020

the circulation of the above medical device is allowed in the Russian Federation

A.V. Samilova

(signature)

Head of the Federal Service for Surveillance in Healthcare

(stamp of Roszdravnadozr)

0048505

FEDERAL SERVICE FOR SURVEILLANCE IN HEALTHCARE

(ROSZDRAVNADZOR)

APPENDIX

TO REGISTRATION CERTIFICATE FOR A MEDICAL DEVICE

No. РЗН (RZN) 2020/10089 			of 17 April 2020

Page 1

For the following medical device:

Pretreatment Device for the nucleic acids extraction from the biological samples for SARS-CoV-2 isothermal amplification performance according to TU 26.60.12-001-06931260-2020

including:

- Pretreatment Device for the nucleic acids extraction from the biological samples for SARS-CoV-2 isothermal amplification performance according to TU 26.60.12-001-06931260-2020

- Interface unit

- Tray

- Rack 1 (plugged unit)

- Rack 2 (filtration unit)

- Rack 3 (eluate collection unit)

- Waste collection container with a lid

- Bacterial air filter

- Connection tube 1.8 m

- Connection tube 0.3 m

- Connecting wire

- Compressor

- Compressor connecting wire

- Power cord

- Operational documents

  - Handbook

  - Datasheet.

A.V. Samilova

(signature)

Head of the Federal Service for Surveillance in Healthcare

(stamp of Roszdravnadozr)

0058899