FEDERAL SERVICE FOR SURVEILLANCE IN HEALTHCARE

(ROSZDRAVNADZOR)

REGISTRATION CERTIFICATE FOR A MEDICAL DEVICE

No. РЗН (RZN) 2020/10087 			of 17 April 2020

For the following medical device:

Reagent kit for the SARS-CoV-2 RNA nucleic acids extraction from biological material in different versions according to TU 21.10.60-002-06931260-2020

This Registration Certificate is issued to

EVOTECH-MIRAI GENOMICS LIMITED LIABILITY COMPANY (EVOTECH-MIRAI GENOMICS LLC), Russian Federation 117437, Moscow, Ak. Artsimovich Str., 3B, of.11

The manufacturer

EVOTECH-MIRAI GENOMICS LIMITED LIABILITY COMPANY (EVOTECH-MIRAI GENOMICS LLC), Russian Federation 117437, Moscow, Ak. Artsimovich Str., 3B, of.11

The production site is located at

Sigma Lab LLC, 42, Bolshoy Boulevard, Bldg. 1, Floor 3, Room 785, Territory of the Skolkovo Innovation Center, Moscow, 143026 Russia

Registration Dossier No. РД (RD)-32452/26141 of 17 April 2020

Classification by potential risk associated with the usage of the medical device: Class 3.

Code by the All-Russia Classifier of Types of Economic Activity: 21.10.60.196

This Registration Certificate has an Appendix of 1 (one) page.

By the Order of Roszdravnadzor No. 3160 of 17 April 2020

the circulation of the above medical device is allowed in the Russian Federation

A.V. Samilova

(signature)

Head of the Federal Service for Surveillance in Healthcare

(stamp of Roszdravnadozr)

0048222

FEDERAL SERVICE FOR SURVEILLANCE IN HEALTHCARE

(ROSZDRAVNADZOR)

APPENDIX

TO REGISTRATION CERTIFICATE FOR A MEDICAL DEVICE

No. РЗН (RZN) 2020/10087 			of 17 April 2020

Page 1

For the following medical device:

Reagent kit for the SARS-CoV-2 RNA nucleic acids extraction from biological material in different versions according to TU 21.10.60-002-06931260-2020

including:

- Version 1. 24 detections:

- SSB solution, transparent colorless liquid, 25 ml, 1 tube

- WS1 solution, transparent colorless liquid, 25 ml, 1 tube

- WS2 solution, transparent colorless liquid, 25 ml, 1 tube

- EB solution, transparent colorless liquid, 3 ml, 1 tube

- Filter column, 24 pcs

- Eppendorf microtube, 2 ml, empty, 216 pcs

- Operational documents

  - Handbook

  - Datasheet.

- Version 1. 96 detections:

- SSB solution, transparent colorless liquid, 50 ml, 2 tubes

- WS1 solution, transparent colorless liquid, 50 ml, 2 tubes

- WS2 solution, transparent colorless liquid, 50 ml, 2 tubes

- EB solution, transparent colorless liquid, 5 ml, 2 tubes

- Operational documents

  - Handbook

  - Datasheet.

A.V. Samilova

(signature)

Head of the Federal Service for Surveillance in Healthcare

(stamp of Roszdravnadozr)

0068427